RECLOSERS AND OTHER DISTRIBUTION EQUIPMENT SUBCOMMITTEE

STANDARDS STATUS REPORT

November 19, 1999

Designation: C37.60-1981

Title: IEEE Standard Requirements for Overhead, Pad Mounted, Dry Vault, and Submersible Automatic Circuit Reclosers and Fault Interrupters for AC Systems

Current Status: Working Group on general update.

Proposed Activity: Final draft 9 to be sent out by Chairman.  Working group to send Chairman comments on this draft by December 15, 1999.

Also of interest, IEC is planning on adopting C37.60 as an IEC document.

Chairman: Dave Stone

Phone: 414/768-8247	FAX: 414/768-8236

PAR Designation: PC37.60	PAR Approval Date: 3/21/96

Completion Date:

Last Action: Standard extended by the IEEE Standards Board until March, 2000

Last Date: September 16, 1997

Date Action Required: 2000

Action: Revision (General Update)

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.61-1973

Title: IEEE Standard Guide for the Application, Operation, and Maintenance of Automatic Circuit Reclosers

Current Status: Working Group on general update.

Proposed Activity: Working Group to send Chairman comments on standard by January 15, 2000.

Chairman: Dave Stone

Phone: 414/768-8247	FAX: 414/768-8236

PAR Designation: PC37.61	PAR Approval Date: 3/21/96

Completion Date:

Last Action: Standard extended by the IEEE Standards Board until March, 2000

Last Date: September 16, 1997

Date Action Required: 2000

Action: Revision (General Update)

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.63-1984

Title: IEEE Standard Requirements for Overhead, Pad-Mounted, Dry-Vault, and Submersible Automatic Line Sectionalizers for AC Systems

Current Status: Standard is Current.

Proposed Activity:

Chairman:

Phone: 	FAX:

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: Revised standard approved.

Last Date: March 20, 1997

Date Action Required: March 20, 2002

Action:

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.66-1969

Title: Requirements for Oil-Filled Capacitor Switches for Alternating-Current Systems

Current Status: Working Group on general update.

Proposed Activity: Draft 5 of update to be worked on at next meeting.

Chairman: Ed Steele

Phone: 216/271-6600 ext 259	FAX: 216/341-3615

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: Reaffirmed

Last Date: 1988

Date Action Required: 1993

Action: Revision (General Update)

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.71-1984

Title: IEEE Standard for Three-Phase, Manually Operated Subsurface Load Interrupting Switches for Alternating Current Systems

Current Status: Standard revised and going through IEEE balloting procedures.

Proposed Activity: Draft two of the revised standard to be re-balloted.

Chairman: Don Martin

Phone: 708/388-5010	FAX: 708/388-0755

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: Reaffirmed

Last Date: December 13, 1994 (by IEEE)

Date Action Required: 1999

Action: Revision

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.72-1987

Title: Single and Three Phase Manually Operated 600 Ampere Dead-Front Padmounted Load Interrupting Switches for Alternating Current Systems

Current Status: Reaffirmation approved by the IEEE-SA Standards Board on June 26, 1999

Proposed Activity: This standard is being revised in the combining of C37.71, C37.72, and C37.73 into one standard. New standard to be designated as C37.74.  When C37.74 is approved, C37.72 will be canceled and dropped from the C37 series.

Chairman: John Wood

Phone: 415/973-3355	FAX: 415/973-8147

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action:  6/26/99 - Reaffirmed

Last Date: 1999

Date Action Required: 2004

Action: Rewrite into C37.74

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.73-1998

Title: Standard Requirements for Padmounted Fused Switchgear

Current Status: Standard is current.

Proposed Activity:

Chairman:

Phone: 	FAX:

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: New standard published.

Last Date: September 3, 1998

Date Action Required: September 3, 2003

Action:

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.71, C37.72, and C37.73

Title: Standard Requirements for Subsurface, Vault, and Padmounted Switchgear

Current Status: A PAR has been prepared and submitted to IEEE for approval.  Working Group meet on 11/10/99 and prepared Draft 3 of combining C37.71, C37.72, and C37.73 into one standard. New standard to be designated as C37.74.  When C37.74 is approved, C37.71, C37.72, and C37.73 will be canceled and dropped from the C37 series.  Draft 3 to be worked on at next meeting.

Proposed Activity: Draft 3 of update to be worked on at next meeting.

Chairman: Dave Stone

Phone: 414/768-8247	FAX: 414/768-8236

PAR Designation: To be obtained.	PAR Approval Date: To be obtained.

Completion Date:

Last Action:

Last Date:

Date Action Required:

Action:

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No