RECLOSERS AND OTHER DISTRIBUTION EQUIPMENT SUBCOMMITTEE

STANDARDS STATUS REPORT

October 2006

Designation: C37.60-1981

Title: IEEE Standard Requirements for Overhead, Pad Mounted, Dry Vault, and Submersible Automatic Circuit Reclosers and Fault Interrupters for AC Systems

Current Status: This is a new working group.  Now in the formation stage. General revisions with possible new requirements for solid dielectric equipment design tests, routine tests, and construction specifications.  A separate RODE Subcommittee task force is analyzing the solid dielectric equipment.  Harmonizing to C37.100.1 will also be part of this revision.

Proposed Activity: Develop laundry list of items that need to be addressed for changes.

Chairman 1: Bob Behl			Email 1: Bob.J.Behl@us.abb.com

Phone 1: 407/732-2041	FAX 1:

Chairman 2: Dave Stone			Email 2: dstone@ieee.org

Phone 2: 414/339-2875	FAX 2: 414/768-8236

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: Revised Standard Published

Last Date: August, 2003

Date Action Required: August 2008

Action: General revisions with harmonizing to C37.100.1.

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.63-1984

Title: IEEE Standard Requirements for Overhead, Pad-Mounted, Dry-Vault, and Submersible Automatic Line Sectionalizers for AC Systems

Current Status: Revised standard approved on February 14, 2005.  Standard is printed and available for purchase.

Proposed Activity: None

Chairman: Marcel Fortin			Email: fortin.marcel@ieee.org

Phone: (450) 922-0925	FAX:

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action: Revised standard approved.

Last Date: February 14, 2005

Date Action Required: February 14, 2010

Action: None

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: C37.66-2005

Title: IEEE Standard Requirements for Capacitor Switches for AC Systems (1 kV to 38 kV)

Current Status: IEEE Std C37.66-2005 published on 22 March 2006.  Standard is printed and available for purchase.

Proposed Activity: None

Chairman: Harry Hirz			Email: Harold.Hirz@JoslynHV.com

Phone: 216/271-6600 ext. 203	FAX: 216/341-3615

PAR Designation: None	PAR Approval Date None

Completion Date: March 22, 2006

Last Action: Revised

Last Date: March 2006

Date Action Required: March 2011

Action:None

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: PC37.74

Title: Standard Requirements for Subsurface, Vault, and Padmounted Load-Interrupter Switchgear and Fused Load-Interrupter Switchgear for Alternating Current Systems up to 38 kV

Current Status: This is a new working group.  Now in the formation stage. General revisions with possible new requirements for solid dielectric equipment design tests, routine tests, and construction specifications.  The solid dielectric equipment is being analyzed by a separate RODE Subcommittee task force.

Proposed Activity: Develop laundry list of items that need to be addressed for changes.

Chairman: Steve Meiners			Email: smeiners@ieee.com

Phone: 860/747-7817	FAX: 860/747-

PAR Designation:	PAR Approval Date:

Completion Date:

Last Action: New Standard Published

Last Date: August, 2003

Date Action Required: August, 2008

Action: General revisions with possible thermal cycle testing requirements for solid dielectric equipment.

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: None - Task Force

Title: Controls for Distribution Equipment

Current Status: The final product will be an IEEE Guide.  Existing standards being researched and referenced where appropriate.  Examples of these requirements (with designated leaders) are:

temperature, humidity, frost (Chuck Ball)

mechanical vibration (Bill Hurst)

harmonics (John Angelis)

grounding variations (Harry Hirz)

electro-magnetic interference (Bob Behl)

lightning and other surges (Frank DeCesaro)

user / producer survey (Francois Soulard)

Proposed Activity: The final product will be an IEEE Guide.  The group will start writing that document.

Chairman: Don Parker			Email: d.m.parker@ieee.org

Phone: (205) 257-4247	FAX: (205) 257-4327

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action:

Last Date:

Date Action Required:

Action:

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No

Designation: None - Task Force

Title: Solid Dielectric Equipment

Current Status: Solid dielectric equipment is emerging technology.  The TF  has decided that additional design tests, routine tests, and construction specifications are required for the solid dielectric equipment.

Proposed Activity: The TF will research and start writing these requirements.  The final product will be inserted into C37.60, C37.63, and C37.74.

Chairman: Chris Ambrose			Email: Chris_Ambrose@IEEE.org

Phone: 561/845-481	FAX: 561/845-4844

PAR Designation: 	PAR Approval Date:

Completion Date:

Last Action:

Last Date:

Date Action Required:

Action:

Expected to Be Ready for Ballot in the Next 12 Months:  Yes    No